## Sheet1
New Premises of MHAC Lahore
BILL OF QUANTITY
FOR
400 KVA TRANSFORMER
S NO | DESCRIPTION | UNIT | QTY | RATE(Rs) | AMOUNT(Rs)
E-01 | MAIN ELECTRIC TRANSFORMER 400 KVA
| Installation,Testing and commissianing of 400 KVA 3 Phase transformer and MDI 2 meter with bus bar complete box, the cost inculde as per site condition, dismentling/removal of old distribution transfermer, loading & unloading and transportaion and the scope also inculde terminatition of 11 kva line and replacment of damaged jumpering of sub station as per relevent standered installation of clamps, connecters, lugs, sockets , binding wire and providing insulating tape( if needed) and any other consumables. | Job | 1
E-02 | Earthing Pit for Equipments
| Constructing, erecting, earthing pit including cost of excavation and back filling of the earth pit upto 3500 to 4500mm depth and including electrode comprising of one 16 mm dia earth electrode rod of 3600 mm long with loop conductor as bare copper conductor 70 mm2 to be drawn in 40mm dia uPVC sleeves from copper plate (50x200 mm) to earth terminal point or adjacent earthing pit or direct to equipment (as directed by Engineer-in-Charge) complete with thimbles, brass nuts and bolts for fastening earth conductor and also including constructing inspection pit 450mm x 450mm x 200mm with RCC cover complete with all necessary materials complete in all respects as per detail shown in the drawing with final testing and commissioning including the cost of earthing leads. | Each | 2
Earth Loop Conductor
Providing and laying earth loop conductor complete with fixing, arrangement from one earthing pit to another earthing pit with lugs and thimbles, washers and of the following sizes:
| a. Bare copper conductor 16mm sq | Mtr | 20
| Total (Electrical) | (Rs.) |  |  | 0